|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Test Case#** | **Test Cases** | **Test Steps** | **Test Data** | **Expected Results** |
| 1 | Turn on the Device | Press Power Button | on\_powerButton\_clicked() | Device gets turned on |
| 2 | User presses Select button to enter main menu | Select Button is pressed | on\_selectButton\_clicked() | Main menu is displayed |
| 3 | User wants to view built-in Programs | Scroll to Programs using up or down button.  Press Select Button | on\_selectButton\_clicked() | Programs are displayed |
| 4 | User selects a Program | Choose a Program by pressing the Select button | on\_selectButton\_clicked() | Selected program is displayed |
| 5 | User presses skin-on button | Skin-on button is pressed | on\_skinOn\_clicked() | Treatment begins and timer starts |
| 6 | User presses skin-off button | Skin-off button is pressed | on\_skinOn\_2\_clicked() | Treatment pauses and timer stops |
| 7 | User ends treatment | Select Button is pressed | on\_selectButton\_clicked() | Treatment finished |
| 8 | Turn off the device | Press Power Button | on\_powerButton\_clicked() | Device gets turned off |
| 9 | User wants to view built-in Frequencies | Scroll to Frequency using up or down button.  Press Select Button | on\_selectButton\_clicked() | Frequencies are displayed |
| 10 | User selects the Frequency | Choose a Frequency by pressing the Select button | on\_selectButton\_clicked() | Selected frequency is displayed |
| 11 | User wants to increase the Power level | Up button pressed | on\_upButton\_clicked() | Power level increases |
| 12 | User wants to decrease the Power level | Down button pressed | on\_downButton\_clicked() | Power level decreases |
| 13 | User wants to Record a treatment | Record button pressed | on\_recording\_clicked() | Treatment is recorded |
| 14 | User wants to view recordings | Scroll to Records using up or down button.  Press Select Button | on\_selectButton\_clicked() | Recordings are displayed |